## Sheet1
Updated 5/5/2025
Question # | Question | Response
1 | Could you clarify what kinds of past performance might be acceptable? Specifically, does it require exclusively government experience, or would both government and commercial experience be considered? | Past performance includes both government and commercial experience, and BARDA will take both types into consideration.
2 | Page 4, Section 2.7, Paragraph 2. Can you please clarify if it is a hard requirement for offerors to have existing and validated hemagglutination inhibition (HAI) and microneutralization (MN) assays for non-H1, non-H3, and non-B influenza strains at the time of proposal submission? Would it be acceptable if a lab with H1/H3/B experience has a validation that is in-progress for non-H1, non-H3, and non-B influenza strains at the time of proposal submission? | Yes, the Mandatory Eligibility Criteria specified in Section 2.7 on page 4 are required and must be fully met at the time of proposal submission on May 30.
3 | Is GCLP compliance vs GLP compliance, acceptable by BARDA, since the Central Lab(s) will be testing Human Clinical samples? | As outlined in Section 4.2 on page 10, BARDA expects Offerors to conduct clinical sample testing in accordance with Good Clinical Laboratory Practice (GCLP) standards. Good Laboratory Practice (GLP) standards apply to non-clinical trial samples.
4 | Will QA be required to prepare any submitted documents in eCTD format? For contract submission and once contract initiates? | As outlined in Capability 1 (page 13) and Capability 2 (page 15), BARDA expects Offerors to submit reports in eCTD submission-ready format, in accordance with the CSN Clinical Related Documents for eCTD Formatting BARDA-Held INDs (v. 2.0, January 14, 2022) and BARDA’s Document QC Guide to facilitate FDA submission-level publishing.
5 | Frequency of QA-performed audits- is BARDA OK with a risk-based annual audit calendar, or do they expect study-specific audits annually? | BARDA will perform study-specific and/or for cause audits as needed.
6 | Is participation in proficiency testing /EQA a requirement for all assays qualified by the Central labs? | Proficiency testing is required for HAI and MN assays. BARDA will notify the Offeror at the time of contract award if proficiency testing is required for any additional assays.
7 | Could you please spell out acronyms for assays so we are clear (pg. 19)? Should it be ADNP instead of ASNP? | ADCC = Antibody-Dependent Cell Cytotoxicity ADCP = Antibody-Dependent Cellular Phagocytosis ADNKA = Antibody-Dependent Natural Killer Cell Activation ADCD = Antibody-Dependent Complement Deposition ASNP = Should be ADNP (Antibody-Dependent Neutrophil Phagocytosis) ADDCP = Antibody-Dependent Dendritic Cell Phagocytosis
8 | ELISA is generally thought of as a binding assay. New technologies use fluorescence and electrochemiluminescence. OK to consider ELISA to mean binding antibody and use state of the art technology that has already been qualified/validated? | Yes, Offerors may utilize state-of-the-art technologies such as bead-based and/or multiplex binding assay formats. Offeror should qualify and/or validate assays for each influenza strain to be tested.
9 | What are the requirements of the standardization plan- is there written guidance? Is this only for assays or other aspects of the proposal? | The standardization plan encompasses assays and other elements employed by the central laboratory to ensure that all teaming partners adhere to a consistent framework. This approach is designed to minimize variability in inter-laboratory results and includes the use of standardized protocols and reagent sources.
10 | Could you define systems serology (pg. 19 of the RFP)? | Systems serology consists of a fusion of high throughput experimental techniques aimed at dissecting the antibody features and functions, especially functions associated Fc:FcR interactions. Systems serology aims to comprehensively survey a diverse array of antibody features and functions, in order to examine the mechanisms behind and distinguish the most important antibody features required for protection.
11 | Should the offeror propose costs over a 10-year time period? | Yes, the Offeror should propose costs for the 10 year period of performance.
12 | Could you please clarify the components of the Technical Proposal? Could you please confirm if the Project Management Plan (5 pages) should be included in the Technical Proposal documents? | In accordance with the Technical Proposal Template in Attachment A on page 26, the components of the Technical Proposal are as follows: Cover Page, RRPV Member Organization Information Sheet, Executive Summary & Eligibility, Technical Approach, Program Managament Plan, Cost Realism, Current Government Support, Data Rights. The Program Management Plan is a part of the Technical Proposal with a page limit of 5 pages.
13 | The RFP states, “Offerors must provide redacted final qualification and validation reports that demonstrate their immunoassay laboratory previously qualified and/or validated hemagglutination inhibition (HAI) assay and microneutralization (MN) assay for seasonal or zoonotic (specifically non-H1, non-H3, non-B) influenza virus strains.” How should these documents be submitted for review? Should they be attached to the Technical Proposal and would that count toward the page limit? | As stated in Section 3.5, Submission Format, bullet #1 on page 8, supporting documents for the Mandatory Eligibility Criteria are not subject to page limits. These documents may be submitted as attachments to the technical proposal and will not count toward the technical proposal’s page limit.
14 | How should letters of support be submitted? Should they be attached to the Technical Proposal and would that count toward the page limit? | Letters of support should be submitted as attachments to the technical proposal and will not count towards the technical proposal's page limit.
15 | For capabilities 4,5,6 and assays, could you please clarify if proposed partners need to be identified at the time of submission? | Yes, the Offeror should identify a teaming partner for Capability Areas 4, 5, and 6 and provide letters of support at the time of submission on May 30, 2025. As stated in Section 4.2, Scope, on page 11, the Offeror should provide evidence of their ability to expand capabilities in support of this program through the use of teaming partners. The Offeror must submit a list of either existing or proposed partnerships to ensure that all six capabilities outlined in the solicitation are addressed.
16 | Could you please clarify the statement “Cost sharing is expected if the performer is to use the assays developed with USG funding for commercial testing.” Pg 5? | The U.S. Government (USG) expects the Offeror to share the costs associated with assay development if the assays are to be utilized for commercial testing by the Offeror.
17 | Do all personnel require a 3-page resume or only key scientific/management contacts? | A resume for all personnel completing work on the project is required.
18 | Section 2.7 of the RPP outlines the mandatory eligibility requirements that must be met for an entity to submit a proposal for this opportunity. Requirement #2 specifies: “Offerors must provide redacted final qualification and validation reports that demonstrate their immunoassay laboratory previously qualified and/or validated…” To clarify, would a retrospective assay report—including information such as the upper and lower limits of detection and quantitation, selectivity, accuracy and precision, dilution linearity, matrix effects, and stability—satisfy the requirement for a qualified assay? Or, must the qualification process also include a pre-established qualification plan that was in place prior to initiation of the assay qualification? | Yes, a retrospective assay report will satisfy the requirement for a qualified assay. No, BARDA does not require a pre-established qualification plan in place prior to initiation of the assay qualification in order to meet the mandatory eligibility criteria.
19 | Original RPP Q&A for RRP_24_07-Central IIEIDLab_Questions_All-Questions-and-Answers_Final: Should we assume the same Question and Responses previously provided still apply to this Amendment 02? Specifically, including the assumptions in question 1, if not otherwise included in this Amendment 02. | Previous questions and responses may not apply due to the changes in Amendment 02.