## Base
Base Period: 18 March 2025 - 17 March 2026
Gas Description | Size | Unit of Issue | Quantity | Est Unit Price | Total
BLOOD GAS MIX, (CO2 4%/02 16%) | E | CY | 1 | 0 | 0
BLOOD GAS, (O2 26%/BAL NI) AH | E | CY | 1 | 0 | 0
BLOOD GAS, (2.054% CO2/BAL N2) | E | CY | 1 | 0 | 0
LIQUID MEDICAL,NITROGEN NF AQ, | 240LT/230LT | CY | 32 | 0 | 0
MEDICAL CARBON DIOXIDE, PN MCDE AV (STEEL & ALUMINUM) | E | CY | 195 | 0 | 0
MEDICAL CARBON DIOXIDE, SIZE G | G | CY | 42 | 0 | 0
LUNG DIFFUSION 179 (CO2 0.3%/CH 0.3%/O2 21%) | 200 | CY | 1 | 0 | 0
MEDICAL HELIUM UHP 6000PSI 512 00 BA | D | CY | 1 | 0 | 0
MEDICAL NITROGEN, PN MNIG BC | G | CY | 50 | 0 | 0
MEDICAL NITROUS OXIDE, PN MNOG BE | G | CY | 25 | 0 | 0
MEDICAL OXYGEN ALUMINUM/STEEL | D | CY | 659 | 0 | 0
MEDICAL OXYGEN ALUMINUM, SIZE E | E | CY | 53 | 0 | 0
MEDICAL OXYGEN 251 CF PN MO200 BK | 251 | CY | 106 | 0 | 0
MEDICAL OXYGEN ALUMINUM | M | CY | 16 | 0 | 0
MEDICAL AIR BREATHING USP ALUM GAS MBAAE CS | G | CY | 1 | 0 | 0
GAS MN020C MED NITROUS OXIDE | 200LB | CY | 1 | 0 | 0
MEDICAL NITROUS OXIDE | E | CY | 1 | 0 | 0
ARGON 6K UHP 6000PSI DW | 6K HIGH | CY | 4 | 0 | 0
MEDICAL AIR BREATHING USP ALUM GAS MBAAE CS | 300 | CY | 1 | 0 | 0
MEDICAL OXYGEN STEEL, SIZE M | M | CY | 1 | 0 | 0
MEDICAL HELIUM, SIZE G MEHG BD | G | CY | 1 | 0 | 0
ARGON FS, SIZE 40 | 40 | CY | 4 | 0 | 0
ANEROBIC MIX 10% CO2/ 10% HYD/ 80% N2 | 210 | CY | 1 | 0 | 0
GAS MIX: 1.5% CO2/ 20% O2/ 79.5% N2 | K | CY | 1 | 0 | 0
LOX DEWAR | 180-230 | CY | 1 | 0 | 0
LOX DEWAR | 189-350 | CY | 1 | 0 | 0
HP O2 | G | CY | 1 | 0 | 0
LIQUID NITROGEN DEWAR, PER LITER | LITER | LI | 1 | 0 | 0
INDUSTRIAL OXYGEN | 80 | CY | 1 | 0 | 0
BULK PROPANE |  | CY | 1 | 0 | 0
ARGON FS, AR 150 CG | 150 | CY | 1 | 0 | 0
MED NITROUS OXIDE | 20 LB | CY | 1 | 0 | 0
| G | CY | 2 | 0 | 0
CO2 RESEARCH GRADE SIPHON TUBE 50
NITROGEN, 80 € | FS | CY | 1 | 0 | 0
BLOOD GAS, (2.054% CO2/BAL N2) | E | CY | 1 | 0 | 0
MIX BALANCE: NITRO MIX - 5% CO2/ 20% O2 |  | CY | 1 | 0 | 0
HELIUM, SIZE M4 | M4 | CY | 6 | 0 | 0
MONTHLY CYLINDER RENTAL | A, B, C, D, & E | CY | 7073 | 0 | 0
- GAS CYLINDERS
MONTHLY CYLINDER RENTAL | A, B, C, D, &E | CY | 3102 | 0 | 0
- GAS CYLINDERS
MONTHLY CYLINDER RENTAL |  | CY | 1 | 0 | 0
- WALK-O2-BOUTS- (WITH REGULATOR | E | CY | 1 | 0 | 0
MONTHLY CYLINDER RENTAL - WALK-O2-BOUTS - MRI COMPATIBLE | E | CY | 1 | 0 | 0
(WITH REGULATOR ALUMINUM)
MONTHLY CYLINDER RENTAL - LIQUID CONTAINERS (PORTABLES) | 160 LITER | CY | 1 | 0 | 0
MONTHLY CYLINDER RENTAL - LIQUID CONTAINERS (PORTABLES) | 160 LITER | CY | 103 | 0 | 0
MONTHLY CYLINDER RENTAL- 6K HIGH PRESSURE CYLINDERS | 6K HIGH |  | 344 | 0 | 0
HAZMAT FEES | EA | EA | EA | 0 | 0
DELIVERY FEES | EA | EA | 1 | 0 | 0
EMERGENCY DELIVERY FEE | EA | EA | 2 | 0 | 0
|  |  |  | 0 | 0

## Option 1
Base Period: 18 March 2026 - 17 March 2027
Gas Description | Size | Unit of Issue | Quantity | Est Unit Price | Total
BLOOD GAS MIX, (CO2 4%/02 16%) | E | CY | 1 | 0 | 0
BLOOD GAS, (O2 26%/BAL NI) AH | E | CY | 1 | 0 | 0
BLOOD GAS, (2.054% CO2/BAL N2) | E | CY | 1 | 0 | 0
LIQUID MEDICAL,NITROGEN NF AQ, | 240LT/230LT | CY | 32 | 0 | 0
MEDICAL CARBON DIOXIDE, PN MCDE AV (STEEL & ALUMINUM) | E | CY | 195 | 0 | 0
MEDICAL CARBON DIOXIDE, SIZE G | G | CY | 42 | 0 | 0
LUNG DIFFUSION 179 (CO2 0.3%/CH 0.3%/O2 21%) | 200 | CY | 1 | 0 | 0
MEDICAL HELIUM UHP 6000PSI 512 00 BA | D | CY | 1 | 0 | 0
MEDICAL NITROGEN, PN MNIG BC | G | CY | 50 | 0 | 0
MEDICAL NITROUS OXIDE, PN MNOG BE | G | CY | 25 | 0 | 0
MEDICAL OXYGEN ALUMINUM/STEEL | D | CY | 659 | 0 | 0
MEDICAL OXYGEN ALUMINUM, SIZE E | E | CY | 53 | 0 | 0
MEDICAL OXYGEN 251 CF PN MO200 BK |  | CY | 106 | 0 | 0
MEDICAL OXYGEN ALUMINUM | M | CY | 16 | 0 | 0
MEDICAL AIR BREATHING USP ALUM GAS MBAAE CS | G | CY | 1 | 0 | 0
GAS MN020C MED NITROUS OXIDE | 200LB | CY | 1 | 0 | 0
MEDICAL NITROUS OXIDE | E | CY | 1 | 0 | 0
ARGON 6K UHP 6000PSI DW |  | CY | 4 | 0 | 0
MEDICAL AIR BREATHING USP ALUM GAS MBAAE CS | 300 | CY | 1 | 0 | 0
MEDICAL OXYGEN STEEL, SIZE M | M | CY | 1 | 0 | 0
MEDICAL HELIUM, SIZE G MEHG BD | G | CY | 1 | 0 | 0
ARGON FS, SIZE 40 | 40 | CY | 4 | 0 | 0
ANEROBIC MIX 10% CO2/ 10% HYD/ 80% N2 | 210 | CY | 1 | 0 | 0
GAS MIX: 1.5% CO2/ 20% O2/ 79.5% N2 | K | CY | 1 | 0 | 0
LOX DEWAR | 180-230 | CY | 1 | 0 | 0
LOX DEWAR | 189-350 | CY | 1 | 0 | 0
HP O2 | G | CY | 1 | 0 | 0
LIQUID NITROGEN DEWAR, PER LITER | LITER | LI | 1 | 0 | 0
INDUSTRIAL OXYGEN | 80 | CY | 1 | 0 | 0
BULK PROPANE |  | CY | 1 | 0 | 0
ARGON FS, AR 150 CG | 150 | CY | 1 | 0 | 0
MED NITROUS OXIDE | 20 LB | CY | 1 | 0 | 0
CO2 RESEARCH | G | CY | 2 | 0 | 0
GRADE SIPHON TUBE 50
NITROGEN, 80 € | FS | CY | 1 | 0 | 0
BLOOD GAS, (2.054% CO2/BAL N2) | E | CY | 1 | 0 | 0
MIX BALANCE: NITRO MIX - 5% CO2/ 20% O2 |  | CY | 1 | 0 | 0
HELIUM, SIZE M4 | M4 | CY | 6 | 0 | 0
MONTHLY CYLINDER RENTAL | A, B, C, D, & E | CY | 7073 | 0 | 0
- GAS CYLINDERS
MONTHLY CYLINDER RENTAL | A, B, C, D, &E | CY | 3102 | 0 | 0
- GAS CYLINDERS
MONTHLY CYLINDER RENTAL |  | CY | 1 | 0 | 0
- WALK-O2-BOUTS- (WITH REGULATOR | E | CY | 1 | 0 | 0
MONTHLY CYLINDER RENTAL - WALK-O2-BOUTS - MRI COMPATIBLE | E | CY | 1 | 0 | 0
(WITH REGULATOR ALUMINUM)
MONTHLY CYLINDER RENTAL - LIQUID CONTAINERS (PORTABLES) | 160 LITER | CY | 1 | 0 | 0
MONTHLY CYLINDER RENTAL - LIQUID CONTAINERS (PORTABLES) | 160 LITER | CY | 103 | 0 | 0
MONTHLY CYLINDER RENTAL- 6K HIGH PRESSURE CYLINDERS | 6K HIGH |  | 344 | 0 | 0
HAZMAT FEES | EA | EA | EA | 0 | 0
DELIVERY FEES | EA | EA | 1 | 0 | 0
EMERGENCY DELIVERY FEE | EA | EA | 2 | 0 | 0
|  |  |  | 0 | 0

## Total Pricing
Grand Total Base Period Plus 1 option year
Total
Base Period | 0
Option 1 | 0
Total | 0